- Administrative Controls Checklist

Check the appropriate box to indicate your organization’s use of each control.

| Control | In Use | Don’t Know |
| --- | --- | --- |
| - Establish and adhere to a set of electrical safety principles. |  |  |
| - Establish and adhere to consistent procedures for working around electricity. |  |  |
| - Provide electrical safety training for workers. |  |  |
| - Conduct job briefings for projects that involve electricity. |  |  |
| - Have and use a documented housekeeping program. |  |  |
| - Provide adequate work rest periods to prevent employees from taking costly shortcuts. |  |  |
| - Consider every electrical conductor or circuit to be energized until proven otherwise. |  |  |
| - Allow only qualified personnel to test electrical equipment. |  |  |
| - Establish and observe approach boundaries. |  |  |
| - Establish and use a system of warnings and signs. |  |  |
| - Avoid working under overhead power lines. |  |  |
| - Avoid working in wet conditions. |  |  |
| - Verify location of all buried or embedded electrical circuits before digging or cutting. |  |  |
| - Know where your overcurrent devices are (i.e. circuit breakers and fuses) so they can be easily and quickly reached in case of emergency. |  |  |
| - Determine the reason a fuse operated or a circuit breaker tripped before replacing or resetting. |  |  |

-continued on next page-

- Administrative Controls Checklist—continued

| Control | In Use | Don’t Know |
| --- | --- | --- |
| - Read and follow all equipment operating instructions. |  |  |
| - Ensure equipment repairs are made by authorized people. |  |  |
| - Use electrical equipment for its intended purposes only. |  |  |
| - Never modify tools. |  |  |
| - Inspect electrical equipment before each shift. |  |  |
| - Keep thorough records of inspections and maintenance. |  |  |
| - Avoid carrying a tool by the cord. |  |  |
| - Avoid yanking a cord to disconnect it from the receptacle. |  |  |
| - Keep hands dry when plugging and unplugging equipment. |  |  |
| - Keep cords and tools away from heat, oil and sharp edges. |  |  |
| - Disconnect tools when changing bits, blades or accessories. |  |  |
| - Avoid piggybacking power strips and extension cords. |  |  |
| - When replacing lamps and bulbs, verify that the replacement matches fixture requirements. |  |  |
| - Avoid wearing jewelry and other metal. |  |  |
| - Secure and contain loose hair. |  |  |

Note:  This list is compiled based on the following regulations and standards.

- OSHA 29 CFR 1910, Subpart I and Subpart S

- NFPA 70E