- Energized Electrical Work Permit

Under NFPA 70E, there are only two instances in which an employee can work on live parts.  In these situations, a work permit must be completed and approved by an authorized person.

- When de-energizing would interrupt essential life support, emergency alarms or ventilation systems.

- When the organization can demonstrate that de-energizing the system would introduce additional or increased hazards or that it is infeasible due to equipment design or operational limitations.

| PART 1 TO BE COMPLETED BY THE REQUESTER |  |  |  |
| --- | --- | --- | --- |
| Job/Work Order Number |  |  |  |
| - Description of circuit/equipment/job location: |  |  |  |
| - Description of work to be done: |  |  |  |
| - Justification of what the circuit/equipment cannot be de-energized or the work deferred until the next scheduled outage: |  |  |  |
| PART II: TO BE COMPLETED BY THE ELECTRICALLY QUALIFIED PERSONS DONG THE WORK |  |  |  |
|  |  | Check when Complete |  |
| - Detailed job description procedure to be used in performing the above detailed work: |  |  |  |
| - Description of the safe work practices to be employed: |  |  |  |
| - Results of the shock hazard analysis: |  |  |  |
| - Determination of shock protection boundaries: |  |  |  |
| - Results of the flash hazard analysis: |  |  |  |
| - Determination of the flash protection boundary: |  |  |  |
| - Necessary personal protective equipment to safety perform the assigned task : |  |  |  |
| - Means employed to restrict the access of unqualified persons from the work area: |  |  |  |
| - Evidence of completion of job briefing including discussion of any job-related hazards: |  |  |  |
| - Do you agree the above described work can be done safely? Yes No (if no, return to requester) |  |  |  |
| Electrically Qualified Person(s) | Date |  |  |
| PART III: APPROVAL(S) TO PERFORM THE WORK WHILE ELECTRICALLY ENERGIZED |  |  |  |
| Manufacturing Manager Maintenance/Engineering Manager |  |  |  |
| Safety Manager Electrically Knowledgeably Person |  |  |  |
| General Manager Date |  |  |  |
| Note: Once the work is complete, forward this form to the site Safety Department for review and retention. |  |  |  |

Source: National Fire Protection Association, © 2004